

**Sapa Extrusions LLC, (REDD Team)**

**PREFABRICATED ADJUSTABLE PLATFORM & STAIR SYSTEM SPECIFICATIONS**

(28” or 35” platform elevation)

SCOPE OF WORK: PROVIDE PREFABRICATED ALUMINUM STAIR SYSTEMS

7” Rise

**PART 1 - SUBMITTALS**

1.1 Product literature with bid.

1.2 Warranty information with bid.

1.3 Drawings (if requested) upon receipt of purchase order.

* 1. Engineering: Provide sealed professional engineered

drawings upon request.

**PART 2 - QUALITY ASSURANCE**

2.1 Manufacturer: Sapa Extrusions LLC. (REDD Team), 125 Superior Drive

Delhi, LA 71232 Call toll free: 1-800-779-5509.

Fax 1-866-840-4566. Find our web site at [**http://www.reddteam.com**](http://www.reddteam.com)

**or e-mail us at** [**AAR-ReddTeamCustomerService@sapagroup.com**](mailto:AAR-ReddTeamCustomerService@sapagroup.com)**.**

Any alternate manufacturer must be approved prior to bid opening.

2.2 Design of the aluminum members shall conform to the current edition of the Aluminum Association Specifications and Guidelines for Aluminum Structures.

2.3 Aluminum welding shall be in accordance with the ANSI/AWS D1.2-97

GMAW process shall be performed by experienced operators.

2.4 All exposed surfaces shall be smooth and free of sharp or jagged edges.

2.5 Warranty: Sapa Fabricated Products (REDD Team), warrants its products to be free from defects in material and workmanship for a period of (1) one year beginning at date of delivery of product. This warranty excludes any defects resulting from abnormal use in installation or service, accidental or intentional damage or any occurrences beyond the manufacturer’s control.

**PART 3 - PRODUCTS**

3.1 **STAIRWAYS** (Always check local ordinances and building codes)

3.1.1 Engineering

a. Stair treads and stringers shall be designed for a uniform live load of 100 pounds per square foot.

3.1.2 Materials

1. Stair treads, stringers, and risers shall be constructed using 6000 series aluminum alloy with

6061-T6 for primary structural components.

1. Slip-resistant punched aluminum planks.

3.1.3 Design

a. Stair treads shall be prefabricated in typical 2’-8” width.

b. Series 7” stairways shall be prefabricated to match a threshold height of:

28” or 35".

3.2 **LANDINGS**

3.2.1 Engineering

a. Landings shall be designed for a uniform live load of 100 pounds per square foot. Guard

rails designed for 200 lbs force applied at any point along top rail.

3.2.2 Materials

a. Landings shall be constructed using 6000 series aluminum alloy with 6061-T6 for primary structural components.

b. Slip-resistant punched aluminum planks.

3.2.3 Design

a. Landings shall be prefabricated in typical 7’-4” X 5’-4 1/2” size.

(Customer shall be responsible for compliance with his or her local ordinances and building codes.)

b. Landings will be designed for variable heights.

3.3 **LEGS**

3.3.1 Engineering

a. The legs shall be designed to support the stair and landing sections. (See Uniform Live Load Specification 3.1.1.a & 3.2.1.a)

3.3.2 Materials

a. Legs shall be constructed using 6061-T6 aluminum alloy.

b. All bolt hardware shall be stainless steel grade 304.

3.3.3 Design

a. The legs shall telescope to allow for various height adjustments.

b. All legs shall be thru bolted using stainless steel bolts grade 304 & nylon lock nuts.

1. All legs shall have 1/4“ X 6” X 10” pads.
2. Independently adjustable for sloped or uneven grades.

3.4 **LANDING RAILS AND STAIR RAILS**

3.4.1 Engineering

a. Handrails shall be designed to resist a concentrated load of 200 pounds applied at any point and in any direction at the top of the rail.

b. Handrails shall be designed to resist a load of 50 pounds per linear foot applied in any direction at the top of the rail.

3.4.2 Materials

a. All landing rails and stair rails shall be aluminum construction alloy 6061-T6 & 6063-T5.

3.4.3 Design

a. Stair rail gripping surface shall be smooth and continuous.

b. Stair hand rail shall be 36” high from the nose of the tread to top of the rail (measured perpendicularly from the tread nose).

c. Stair top rail shall be 1 1/4” Sch. 40 aluminum pipe.

d. 42” guardrail height with intermediate rail and toe plate.

3.5 **FINISHING**

3.5.1 Landing rails and stair rails shall be:

a. Mill finish

3.6 **DECKING**

3.6.1 Decking shall be:

a. Slip-resistant punched aluminum planks.

Rev 12/11/12